- PURPOSE:

This work instruction is made for describing the labeling contents and method.

- SCOPE:

Labels generated for product identification purpose in Adler.

- Responsibility:

In charge of Packaging department.

- Printing method:

Labeling of routine products will be done based on following guideline. In case of specific labeling requirement from customer; the labels will be generated as per customer requirements.

MAIN LABELS FOR NON STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND (ADLER PRODUCT):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NON STERILE |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo CE |  | No | No | No | No | No | No | No | YES | YES | No |
| CE Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR NON STERILE PRODUCTS SUSHRUT BRAND:

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NON STERILE |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND (ADLER PRODUCT) (Radiation Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE R | STERILE-R | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo CE |  | No | No | No | No | No | No | No | No | No | No |
| CE Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS SUSHRUT BRAND (Radiation Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | SIMPLE TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE R | STERILE-R | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND – ADLER PRODUCTS (ETO Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | SIMPLE TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE EO | STERILE-EO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM |  | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM |  | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol CE |  | No | No | No | No | No | No | No | No | No | No |
| Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Symbol See Instructions |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol DO not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

FOR STERILE PRODUCTS SUSHRUT BRAND (ETO Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
|  |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE EO | STERILE-EO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| STERILISATION DATE: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| STERILISATION EXPIRY: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol See Instructions |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol DO not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

PATIENT LABELS FOR ALL STERILE PRODUCTS SUSHRUT BRAND (Radiation Sterilised):

| Item Code | REF: |
| --- | --- |
| Manu. Date: YYYY-MM |  |
| BATCH / LOT NUMBER |  |
| STERILE R | STERILE-R |
| STERILISATION DATE: YYYY-MM |  |
| STERILISATION EXPIRY: YYYY-MM |  |

PATIENT LABELS FOR ALL STERILE PRODUCTS SUSHRUT BRAND (ETO Sterilised):

| Item Code | REF: |
| --- | --- |
| Manu. Date: YYYY-MM |  |
| BATCH / LOT NUMBER |  |
| STERILE EO | STERILE-EO |
| STERILISATION DATE: YYYY-MM |  |
| STERILISATION EXPIRY: YYYY-MM |  |

Six patient labels should be kept inside the outer box of each sterile product.

The inner most pouch containing product should have a label on it as per above instructions.

In case of sterile products the label should be on the first pouch, second pouch as well as on the outer container (Box). Out of these three labels the labels on second pouch and on the outer box should carry sterile indicators (Chemical Indicators).

Summary of Revisions:

| Revision No. | Date | Description of change | Next Review Date |
| --- | --- | --- | --- |
| 00 | N.A. | N.A. | N.A. |
| 01 | N.A. | N.A. | N.A. |
| 02 | N.A. | N.A. | N.A. |
| 03 | N.A. | N.A. | N.A. |
| 04 | 14SEP2017 | Correction in patient label quantity mentioned in work instruction. Mentioned three labels instead of six labels. | 13SEP2022 |
| 05 | 23JUL2020 | Translated to Marathi & added disclaimer as per DCR No. 090620 | 22JUL2023 |
| 06 | 24OCT2021 | Change applicability of CE agency code & logo for Adler and Sushrut products in clause no 4. All Charts as per ECR No. E011021. | 23OCT2024 |

|  | Prepared By | Reviewed By | Approved By |
| --- | --- | --- | --- |
| Function: | Production Engineer | QA Engineer | Manager QA & RA |
| Name: | Swapnaj Wadkar | Satyavan Jadhav | Ashish Prabhudesai |
| Signature: |  |  |  |
| Date: |  |  |  |

Disclaimer: This is a translation of the original English document in good Marathi made for the purpose of easy understanding by user. For any Legal / official / Audit purpose or in case of discrepancy, original version in English language should be considered valid.

अस्वीकरण: मूळ इंग्रजी दस्तऐवजाचे हे भाषांतर वापरकर्त्यांद्वारे समजून घेण्याच्या उद्देशाने चांगल्या मराठी भाषेत केले गेले आहे. कोणत्याही कायदेशीर / अधिकृत / ऑडिट हेतूसाठी किंवा काही फेरफार आढळल्यास इंग्रजी भाषेतील मूळ आवृत्ती हीच वैध मानली जाईल.

- उद्देश:

हे वर्क इंस्ट्रुकशन लेबल छपाईच्या पद्धतींचे वर्णन करण्यासाठी बनविलेले आहे.

- स्कोप :

अ‍ॅडलरमध्ये उत्पादन ओळखण्याच्या उद्देशाने तयार केलेली लेबले

- जबाबदारी:

प्रभारी पॅकिंग विभाग.

- मुद्रण पद्धत :

खालील मार्गदर्शक तत्त्वांवर आधारित नियमित उत्पादनांचे लेबलिंग केले जाईल. ग्राहकाकडून विशिष्ट लेबलिंग आवश्यकता असल्यास; ग्राहकांच्या गरजेनुसार लेबले तयार केली जातील.

MAIN LABELS FOR NON STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND (ADLER PRODUCT):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NON STERILE |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo CE |  | No | No | No | No | No | No | No | YES | YES | No |
| CE Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR NON STERILE PRODUCTS SUSHRUT BRAND:

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NON STERILE |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND (ADLER PRODUCT) (Radiation Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE R | STERILE-R | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo CE |  | No | No | No | No | No | No | No | No | No | No |
| CE Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS SUSHRUT BRAND (Radiation Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | SIMPLE TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code/REF | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE R | STERILE-R | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Instructions for use |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Logo Do not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

MAIN LABELS FOR STERILE PRODUCTS OTHER THAN OE AND SUSHRUT BRAND – ADLER PRODUCTS (ETO Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product Group | SIMPLE TEXT | Bone Screws | Bone Plates | IM NAILS | PINS AND WIRES | SPINE IMPLANTS | HEMI ENDOPROSTHESIS | JOINT REPLACEMENT PROSTHESIS | EXTERNAL FIXATORS | INSTRUMENTS | OTHER PRODUCTS |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Item Code | REF: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE EO | STERILE-EO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Date: YYYY-MM |  | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Exp. Date: YYYY-MM |  | Date | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol CE |  | No | No | No | No | No | No | No | No | No | No |
| Agency Code | 2460 | No | No | No | No | No | No | No | No | No | No |
| Symbol See Instructions |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol DO not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

FOR STERILE PRODUCTS SUSHRUT BRAND (ETO Sterilised):

| LABEL CONTENT DETAILS |  | Bone Screws | Bone Plates | Intramedullary Nails and It’s Associated Devices | Implantable Pins and Wires | Spine Implants | HEMi ENDOPROSTHESIS | Joint Replacement Prosthesis | External Fixators | Instruments | Factored Items |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Description | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
|  |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Quantity per Pack | QTY.: | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| BATCH / LOT NUMBER |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| STERILE EO | STERILE-EO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Sterile Lot Number | Number | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Manu. Date: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| STERILISATION DATE: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| STERILISATION EXPIRY: YYYY-MM |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol See Instructions |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Symbol DO not Re-use |  | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES/NO |
| Barcode for Code Number (REF) | iiiiiiiiii | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 1 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Additional Specification 2 | SIMPLE TEXT | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |

PATIENT LABELS FOR ALL STERILE PRODUCTS SUSHRUT BRAND (Radiation Sterilised):

| Item Code | REF: |
| --- | --- |
| Manu. Date: YYYY-MM |  |
| BATCH / LOT NUMBER |  |
| STERILE R | STERILE-R |
| STERILISATION DATE: YYYY-MM |  |
| STERILISATION EXPIRY: YYYY-MM |  |

PATIENT LABELS FOR ALL STERILE PRODUCTS SUSHRUT BRAND (ETO Sterilised):

| Item Code | REF: |
| --- | --- |
| Manu. Date: YYYY-MM |  |
| BATCH / LOT NUMBER |  |
| STERILE EO | STERILE-EO |
| STERILISATION DATE: YYYY-MM |  |
| STERILISATION EXPIRY: YYYY-MM |  |

प्रत्येक निर्जंतुकीकरण उत्पादनाच्या बाहेरील बॉक्समध्ये सहा रुग्ण लेबल ठेवल्या पाहिजेत.

वरील सूचनांनुसार उत्पादन असलेल्या आतील सर्वात थैलीवर लेबल असले पाहिजे.

निर्जंतुकीकरण उत्पादनांच्या बाबतीत लेबल पहिल्या थैलीवर, दुसऱ्या थैलीवर तसेच बाह्य कंटेनरवर (बॉक्स) असावे. या तीन लेबलांपैकी दुसऱ्या थैलीवर आणि बाहेरील बॉक्सवर लेबल निर्जंतुकीकरण निर्देशक (रासायनिक संकेतक) असावेत.